## Slide 1
Wrong connections

## Slide 2
Wrong connections

## Slide 19
Left and right limit switch exercise

## Slide 21
SET AND RESET INSTRUCTION

## Slide 23
RISING EDGE&FALLING EDGE

## Slide 24
Input side

## Slide 25
Output side

## Slide 26
Master control/Main control

## Slide 28
TIMER

## Slide 30
ZONE RESET
CONTACT TYPE TIMER

## Slide 31
COUNTER

## Slide 33
Success task r and f

## Slide 34
Manual f and r

## Slide 35
NP and PN instruction

## Slide 36
PN
NP

## Slide 39
MATHS OPERATION

## Slide 42
MOVE

## Slide 44
COMPARE

## Slide 50
INCREMENT DECREMENT

## Slide 52
COMPILMENT and SCIENTIFIC CALC

## Slide 54
BOOLEAN

## Slide 56
CONTACT TYPE BOOLEAN

## Slide 57
BCD BIN

## Slide 59
Jump

## Slide 61
CALL SUBROUTINE

## Slide 64
To develop a ladder diagram for the ON/OFF temperature controller for the continuous process of heating of mixture.
Sequence:
On button to start the process when motor start and V1 is open.
Then check the level, is it high level is reached or not.
If a high level is reached turn ON the stirrer & heater at a time.
After mixing & heating turn OFF the stirrer & heater.
Finally, release this mixture through valve V2.

## Slide 66
This image explains analog programming for the Delta PLC model **DVP06XA**, focusing on handling analog input signals from sensors. Here’s a breakdown:
1. **Input Signal Types**:
- Voltage (0–10V)
- Current (4–20mA)
2. **Example**:
- For a temperature sensor with a range of 0–100 degrees Celsius.
- The analog module has a **12-bit resolution** (0 to 8192 digital values).
3. **Mapping**:
- **0V** maps to **0 digital value** and **0 degrees**.
- **5V** maps to **4096 digital value** and **50 degrees**.
- **10V** maps to **8192 digital value** and **100 degrees**.
This mapping can be used to program the PLC to convert the raw digital values (from 0 to 8192) into meaningful engineering units like temperature.

## Slide 67
For a 4–20 mA current signal, the scaling in the Delta DVP06XA analog module would be similar to the voltage signal but with different base values. Here’s how it typically maps:
1. **Signal Range**:
- 4 mA corresponds to the minimum (0 degrees or 0%).
- 20 mA corresponds to the maximum (100 degrees or 100%).
2. **Digital Values**:
With a 12-bit resolution (0 to 8192):
- **4 mA** maps to around **819** digital units (since 4 mA is about 20% of the range).
- **20 mA** maps to **4096** digital units (the upper end of the 4–20 mA signal range).
3. **Scaling to Engineering Units**:
If we want to map digital values to a temperature range of 0 to 100 degrees:
- Use the formula:
\[
\text{Temperature (°C)} = \frac{\text{Digital Value} - 819}{4096 - 819} \times 100
\]
**Mapping Table**:
| Current Signal | Digital Value | Engineering Value (Temperature °C) |
|----------------|---------------|-------------------------------------|
| 4 mA | 819 | 0 |
| 12 mA | 2458 | 50 |
| 20 mA | 4096 | 100 |
You can use this scaling formula in the PLC to interpret the digital values from the analog input as a temperature in degrees.

## Slide 70
Supervisiory Control And Data Acquisition

## Slide 80
Multiple window

## Slide 81
Visibility

## Slide 82
exercise

## Slide 83
blinking

## Slide 84
orientation

## Slide 85
Tooltip & Disable

## Slide 91
script
Window script

## Slide 98
Copy same script in action

## Slide 102
Recepie creation

## Slide 109
Database using ms access

## Slide 111
Rename table into your desire name

## Slide 118
Create sw1 and T1 tags

## Slide 122
Sql insert take from function->All
Sql insert from help

## Slide 124
Data get updated